## Data (hidden)
Unite
Abonnement (an)
Abonnement (mois)
Accès
An
Analyse
Audit
Billet
Boite
Bouteille
Brochure
Consultation
Ensemble
Etude
Evènement
Exemplaire
Flacon
Forfait
g
Heure
Installation
Jour
Kg
Kit
Km
L
Licence
Lot
M²
M³
Mg
Mission
ml
Mois
Nuitée
Pack
Paquet
Personne
Prestation
Repas
Rouleau
Sachet
Semestre
Service
Session
Système
Test
Trimestre
Tube
Unité
Vidéo
Visuel

## Analyses UM6P
Prestation Name | Description | Prix MAD | Reservable Type | Class | ImageURL | Equipment Model
Horizontal Gel Electrophoresis | *Visualization of DNA or PCR product *Capacity of samples per cycle: 112 samples/cycle | 100 | reservable | equipment | https://public.qreserve.com/z4wi82h8s1mwe8s4o0shy2cnk2yyj19m3tsl7_f.jpg?version=1689618570742230325 | VWR Mini Gel
Real Time PCR (qPCR) | *Applications: Species abondance quantification, Gene expression analysis, Genotyping, microbe and pathogen detection, allelic discrimination, Single Nucleotide Polymorphism detection *Capacity of samples per cycle: 96 samples/cycle *Nature of samples:DNA or RNA. | 300 | reservable | equipment | https://public.qreserve.com/6x2s1sad48rgcmrk76xnncmvec8igvujyruik_f.jpg?version=1689621242215213117 | CFX96 Touch
Thermocycler | *PCR amplification *Capacity of samples per cycle: 96 samples/cycle. *Nature of samples: DNA. | 200 | reservable | equipment | https://public.qreserve.com/57bzz51e7ydcodtc7x8wktcqwaftqfxfhr9tn_f.png?version=1689621527907448638 | UNO 96 Thermal cycler
BET : 3-FLEX | - Low pressure volumetric adsorption analyzer for measuring surface area, pore volume, and pore size - N2 adsorption isotherm at 77 K, Surface area, pore volume, pore size, variable temperature gas adsorption. - Sample type:solid powder - Capacity per day:2 samples - Optimum weight :100 mg | 870 | reservable | equipment | https://public.qreserve.com/bbvz5dpg2ssfo810gl59n2zgw635cfemyswjq_f.jpg?version=1701448695233720151 | 3-Flex
BET:TRISTAR II | - Automated surface area and porosity analyzer - Sample type:solid powder - Capacity per day:3 samples - Optimum weight :200 mg | 870 | reservable | equipment | https://public.qreserve.com/umhco8ddc3nqjoxhdhzxxb1gbmrwhtet37zp8_f.jpg?version=1700943186416265241 | TRISTAR II PLUS
Fluorimeter UV/Vis/NIR FP-8700 single monochromator | - Photophysical measurments - Luminescent materials, Excitation and Emission, Photolumeniscence quantum yield ( PLQY) - Sample type:Solid, powder and film - Capacity per day:6 samples - Minimum Sample required:3 samples | 150 | reservable | equipment |  | FP-8700
Rubotherm Series IsoSORPSA | -High pressure gravimetric gas sorption analyzer -Gas (CO2, CH4, O2, ...) adsorptions at high pressures above 1 bar - Sample type:Solid powder - Capacity per day:1 sample - Optimum weight required:500 mg | 1530 | reservable | equipment | https://public.qreserve.com/a2009xq9htpu9x0mkzsdm9cvoqrywowmz0mib_f.png?version=1700943115019974897 | 400-150, S-G
Solar Simulator | Electrical characterizatons (I-V curves) Application:Solar cells with apparent contacts Sample type:Solar cells Capacity per day:20 samples | 50 | reservable | equipment | https://public.qreserve.com/165cqhl4v7nggv125rj717a8a5mx4wurrn6tyi_f.jpg?version=1741345290771006996 | Solixon A-20
VStar 2 Turbo | - Low pressure volumetric gas or vapor sorption analyzer. - Gas (CO2, CH4, hydrocarbons) and vapor (water, alcohol, liquid hydrocarbons) sorption analysis - Sample type:solid powder - Capacity per day:1 samples - Optimum weight :50 mg | 1080 | reservable | equipment | https://public.qreserve.com/wnu7x5he5hflclm7sbc2wiq613hnixzan4jb4_f.png?version=1700943044276513282 | VSTAR 2 station Turbo
XRD |  | 250 | reservable | equipment | https://public.qreserve.com/117tiy4jrxv03eyr56d3vrqzehyersyjs8tv7p_f.jpg?version=1715621417849170422 | Dynamic 500
BET | Automated surface area and porosity analyzer Sample type:solid powder Capacity per day:3 samples Optimum weight :200 mg | 800 | reservable | equipment | https://public.qreserve.com/k522lnbxuiwib1op8npt7mlr0c290raltl0ta_f.jpg?version=1727431634958746613 | V-sorber 2800P
Combi-Flash 810 | Capacity of samples per days:10 Nature of sample :Liquid/solid | 250 | reservable | equipment | https://public.qreserve.com/qy67wtnd6wdg82ovunvhl543hylu18y2v8vt4_f.png?version=1703088899615040025 | 810
Gaz chromatography TQ 8900 | Application:Essential oil : 10 ul of EO in 1mL Hexan Hexanic extract and dichloromethan extract : Concentration of samples: 10 mg of samples in in their solvent (hexan for hexan extract and dichloromethan for dichloromethan extract) dichloromethan extract) Fatty acid : Need to do the transesterification reaction. Capacity of samples per days/hour:5 Nature of sample:Liquid/Solid | 400 | reservable | equipment | https://public.qreserve.com/153ouoipfk70kqiesuwb7z2ggf7zsl6i94e79v_f.jpg?version=1727429981967814196 | 8900 TQ
High Performance Liquid Chromatography |  | 400 | reservable | equipment | https://public.qreserve.com/zcyfcn0a66hkrrpvjefhyvnpgd3fgn1n2yirw_f.png?version=1689192757546513066 | LC-NETII/ADC
Liquid Chromatography-Mass Spectrometry |  | 500 | reservable | equipment | https://public.qreserve.com/nwbfpuy13pd7own6u2kp2z1khj3fx6zkwu57b_f.png?version=1689192770504951907 | 1260 INFINITY II
Microscope a force atomique | Capacity of samples per days/hour:10 Nature of sample:Solid/Powder | 800 | reservable | equipment | https://public.qreserve.com/1abtkfxww8a5x8y3061oqbnx249rlu18379u9g_f.png?version=1727430532061889392 | alpha 300R
Microwave | Nature of sample:Liquid Capacity of samples per day:3 | 300 | reservable | equipment | https://public.qreserve.com/714fzl6jk2fiep94woev3f1qvbnvjjcfdddus_f.jpg?version=1698947512202023205 | Initiator+
Optical contact angle | Nature of sample:Liquid/Film/solide Capacity of samples per day:10 | 200 | reservable | equipment | https://public.qreserve.com/1casvl6luavseyexqds8x4ovfgmkld9zl6mx44_f.jpg?version=1698946835185886068 | OCA 50 EC
Press XRF and FTIR |  | 10 | reservable | equipment | https://public.qreserve.com/1k07s058sob0wen4ph6vwhffkp4fbsjlw153r_f.jpg?version=1689344878423518807 | PP25
Raman | Capacity of samples per days/hour:10 Nature of sample:Solid/Powder/Liquid | 150 | reservable | equipment | https://public.qreserve.com/aho9b6gq1ym7z4t6p1bq6pdndl9qbqugaltxe_f.png?version=1727430674961101027 | alpha 300R
Scanning Electron Microscope | Sample type:solid Capacity per day:5 samples | 500 | reservable | equipment | https://public.qreserve.com/h3hv8fh9nm0swm7f2ayvtp9084yh9x4uhshy6_f.jpg?version=1728379801135836022 | CLARA 2023- (S8000)_GMU
Spectrometre FT/IR |  | 100 | reservable | equipment | https://public.qreserve.com/3fgdihplnt4o60nh8dgkw1t5osesqvi02f98r_f.png?version=1689192806279407559 | IR-4600 LE
Spectrometre UV-VIS |  | 100 | reservable | equipment | https://public.qreserve.com/1jza9oz4991e7z27eszn6dr8haqg0wbyvp1csi_f.png?version=1689192808115100368 | V-770
Speed Wave |  | 300 | reservable | equipment | https://public.qreserve.com/9xmq064o88wpknrnz9nb58hdh0l8yjo6sm8wo_f.png?version=1689192809963619152 | SW-E
TG-ATD/DSC | Application:The equipment allows a real simultaneous measurement, from ambient temperature up to 1500 ° C and on the same sample of : Heat flux (DSC), mass loss (ATG) and differential thermal analysis (DTA). TG/ATD 1400°C maximum TG/DSC 1100 °C Maximum Capacity of samples per days:5 Nature of samples:Fine to medium grinded sample | 600 | reservable | equipment | https://public.qreserve.com/1atvkc1n1kevjukk74g8h95lpu3bfnvfw8dec6_f.jpg?version=1727430996463378492 | TGA PT 1600
Ultrason À Sonde |  | 50 | reservable | equipment | https://public.qreserve.com/12fd1a4iawbuiibmfbbzf0z3ecabaa661zq1lp_f.png?version=1689439428123673653 | VCX750
Water purification System |  | 100 | reservable | equipment | https://public.qreserve.com/16kya9sus0h83lb5gzd8gudrppkih5abjwl2e0_f.png?version=1698947967909642336 | HX7080
Zetasizer | Nature of sample:Liquid Capacity of samples per day:10 | 250 | reservable | equipment | https://public.qreserve.com/1emgcghvkw8s0nenlphtol0thr3yfco7ka6797_f.png?version=1698946036651579521 | Blue pro
Microscope Axioscan 7 | ZEISS Axioscan 7 Your high-performance slide scanner for fluorescence, brightfield and polarization, Digitize your samples with Axioscan 7 and create high-quality virtual slides reliably and reproducibly. Axioscan 7 combines outstanding features for a slide scanner: ultra-fast scanning, excellent image quality and an unrivalled range of imaging modes, all in a fully automated, easy-to-use system. Fast, automated scanning for up to 100 slides in a single pass. Robust, high-performance scanner for 24/7 continuous operation. Easy-to-create scan profiles thanks to intuitive software wizards. Fast switching between fluorescence, bright field and polarization. Sophisticated filter concept for demanding fluorescence imaging. Application:Biology (fluorescently labeled or naturally fluorescent samples) Sample type:microscope slides, biological samples (histology, cytology, biological tissue) prepared between slide and coverslip. Minimum Sample required:10 | 35 | reservable | equipment | https://public.qreserve.com/bb3otvhjv6wig596riso3qc9cv3iop50enu5i_f.jpg?version=1703688036072787724
Microscope Axioscope 5 | ZEISS Axioscope 5 Your intelligent microscope for routine tasks and medical biology research Four multichannel fluorescence channels at the click of a button Fluorescence microscopy image acquisition has never been easier. Combine the Axioscope 5 microscope with the Colibri 3 LED illumination source and the ultra-sensitive stand-alone microscope camera. The result is a perfect configuration that simplifies the documentation of multiple fluorescence channels. Switch effortlessly between channels for UV, blue, green and red excitation. Application:Biology (fluorescently labeled or naturally fluorescent samples), thin-film mineralogy Sample type:microscope slides, biological samples (histology, cytology, biological tissue) prepared between slide and coverslip. Minimum Sample required:2 | 60 | reservable | equipment | https://public.qreserve.com/1dgwk35d8arba0iz082alsa493u5m5vm6yvx48_f.jpg?version=1703512836368047616 | Axioscope 5
Microscope Discovery V8 | Application:Biology (fluorescently labeled or naturally fluorescent samples), thin-film mineralogy Sample type:microscope slides (transmitted light observation), biological samples biological or mineralogical samples and materials (reflected light observation). | 50 | reservable | equipment | https://public.qreserve.com/1lo3jg1ec4jcjq55g8d6e1auqpxi0pga342ab1_f.jpg?version=1703512777710940676 | Discovery D8
Microscope LSM 900 Confocale | ZEISS LSM 900 with Airyscan 2, Your compact confocal microscope for non-invasive Multiplex imaging and intelligent analysis. The Airyscan 2 takes you further than any conventional LSM detector. Each of its 32 detectors gathers additional information, while jointly collecting even more light, for quantitative, super-resolution results. ZEN microscopy software offers a host of features for reproducible results in the shortest possible time. AI Sample Finder helps you quickly detect regions of interest, saving you valuable time that you can devote to your experiments. Smart Setup lets you apply the optimum imaging parameters for your fluorescent markers. Direct processing handles image acquisition and data processing in parallel. Application:Biology (fluorescently labeled or naturally fluorescent samples), thin-film mineralogy Sample type:microscope slides, biological samples (histology, cytology, biological tissue) prepared between slide and coverslip. Minimum Sample required:1 | 200 | reservable | equipment | https://public.qreserve.com/fh2daiw26r276faxbdjez1dglrhtzz1yv7sde_f.jpg?version=1703334005848259055 | LSM 900/axio observer 7
Microscope Primostar 3 | Sample type:microscope slides, biological samples (histology, cytology, biological tissue) prepared between slide and coverslip | 50 | reservable | equipment | https://public.qreserve.com/49nkbc009pu8au0jk15flflnsgvaq4e1avf8e_f.jpg?version=1703333908667343316 | Axiocam 208
Liquid Chromatography-Mass Spectrometry | Thermo Fisher orbitrap Fusion Lumos ETD coupled to UtliMate 3000 RSLC nanoLC Application: Mass Spec proteomics. | 1000 | reservable | equipment | https://public.qreserve.com/pfa3toq057bmuhg2nzz0q1nnpam0tojwue6cb_f.jpg?version=1716201386597341276 | Orbitrap Fusion Lumos
Scanning Electron Microscope | -The FEI FEG 450 (Field Emission Gun) electron microscope is equipped with several detectors, in particular the EDS BRUKER XFlash 6/30 detector, and accessories allowing a structural and chemical morphological study of all types of solid and powder samples. This equipment gives the possibility of carrying out quality controls for different industries in the field of materials (automotive industry, metallurgical industry, microelectronics, photovoltaic cell ...), this system also lends itself to the observation of micro-organisms. -Samples type: Epoxy Blocks (25mm or 30 mm); Thin sections (27x47mm); SOLID samples (powder, Blocks, cross sections); Thin layer (27x47mm) -Capacity per day: 2 booking | 307 | reservable | equipment | https://public.qreserve.com/bzeqrasr2rgz51905gj4wxvmdq02q6wqbhqrt_f.png?version=1705488386685676730 | Quanta FEG 450
Proton (1H) and/or 31P |  | 122 | reservable | equipment | https://public.qreserve.com/1idmbmvwwoggtvvd4u2mvzkgknsp624y122zsa_f.jpg?version=1707132989964104407 | Avance III 600 MHz
Proton (1H),13C,13C-DEPT, 19F or 29Si | min Required Weight 25 mg Sample nature:Fine powder | 400 | reservable | equipment | https://public.qreserve.com/1ewyj9hx8bgstqevfytx3vwiuaabgxuj6orh1i_f.jpg?version=1710501688472306751 | Avance III 600 MHz
Proton (1H),13C,13C-DEPT, COSY, HSQC, HMBC, NOESY | min Required Weight 25 mg Sample nature:Fine powder | 500 | reservable | equipment | https://public.qreserve.com/siv4uea73mjo6inet9ry10db98dbvc9sjp7tr_f.jpg?version=1707132906414106116 | Avance III 600 MHz
Proton (1H),13C,13C-DEPT, COSY, HSQC, HMBC, NOESY, 19F or 29Si | min Required Weight 25 mg Sample nature:Fine powder | 600 | reservable | equipment | https://public.qreserve.com/4hmitd8v9zrc6s2uxaj4gdl5b2g2kjiw6bevk_f.jpg?version=1710503583156662366 | Avance III 600 MHz
NMR Analysis per Hour | min Requiered Weight 90 mg Sample nature:Fine powder | 122 | reservable | equipment | https://public.qreserve.com/uic9lw5roumbslnco0iaaoxvwngiwwyathds_f.jpg?version=1706800444612924790 | Avance III 600 MHz
1H + Xi solid state | min Required Weight 90 mg Sample nature:Fine powder | 550 | reservable | equipment | https://public.qreserve.com/7rq44wf6loifmo9k6fm0cmbfb3825wddq4zbp_f.jpg?version=1731356256639897183 | Avance III 600 MHz
Flash chromatography | Substance separation Capacity of samples per day: 1. Nature of sample:Liquid or solide. | 200 | reservable | equipment | https://public.qreserve.com/17vqou23xev7wiu13is81li0s7foce70mivyzq_f.png?version=1689192746453978951 | Teledyne ISCO
Gaz Chromatographie Mass Spectroscopy | * Volatile substances analysis (non polar compounds). * Applications:Essential oil/ hexanic extract/ dichloromethan extract/ fatty acid. * Capacity of samples per day:5 * Nature of sample:Liquid * Sample preparation: Essential oil : 10 ul of EO in 1mL Hexan Hexanic extract and dichloromethan extract : Concentration of samples: 10 mg of samples in in their solvent (hexan for hexan extract and dichloromethan for dichloromethan extract) dichloromethan extract) Fatty acid : Need to do the transesterification reaction. | 400 | reservable | equipment | https://public.qreserve.com/ub3lxs1unsdwqk0udteiznkdui7gf80f71pco_f.png?version=1689192751568599911 | GC-2030
Hight Performance Liquid Chromatography | Molecule quantification. Capacity per day : 5 Samples. PS: Standard of the molecule to be provided. | 100 | reservable | equipment | https://public.qreserve.com/1lv27unn8bj0m6bdx9bsjw1ikqdg64hy7mhxw5_f.png?version=1689192758357242496 | Chromester CM ORG
Liquid chromatography mass spectroscopy | * Applications:secondary methabolite from plant : water extract /ethanalic extract/ methanolic extract/Chloroform extract. * Capacity of samples per day: 8 * Nature of sample:Liquid * Sample preparation : Concentration of samples:10 mg of samples in their solvent (water for water extract, ethanol for ethanolic extract, methonol for methanolic extract and chloroform for chloroformic extract). | 500 | reservable | equipment | https://public.qreserve.com/1h9l6x5pzt2lay0lrmww8l6tk2248cl53zhjk2_f.png?version=1689436552038109499 | LC-8050
Bioreactor | Applications:Anaerobic digestion / Biogas production / Microorganism multiplication. Nature of samples:cells, bacteria, yeasts, specific microorganisms,bacteria, algae, fungi, yeasts. | 100 | reservable | equipment | https://public.qreserve.com/jmmvjwkvtztqxu8apfqbwm1hxayz8c2btas1t_f.png?version=1689939077561938174 | BCU F1
Bioreactor | Applications:Cell culture, microorganism culture, aeorobic anaerobic digestion fermentation. Nature of samples:cells, bacteria, yeasts or specific microorganisms;bBacteria, algae, fungi, yeast. | 100 | reservable | equipment | https://public.qreserve.com/1b63yez39zan22nb1mnssemkj1eekxe2xhn2kf_f.png?version=1689192722082782160 | BB-8821051
Coaters | Coating fertilizers with a biopolymer. Capacity of samples per hour: 1 | 50 | reservable | equipment | https://public.qreserve.com/df2gwxxv2eoqrsxn5njryas9cilncwkaufqc6_f.png?version=1689192728692138204 | Twirlo
Encapsulator | *Encapsulation of chemical substances, biomolecules and microorganisms. *Applications:Formulation of biopolymer-based beads, encapsulation of oils encapsulation of microorganisms and biofertilizers. *Capacity of samples per hour:1 *Nature of samples: Essential oils ,biological samples such as cells, tissues, microorganisms ,biofertilizers. | 50 | reservable | equipment | https://public.qreserve.com/1dk8513eulftwcqkf2yarqnn5tsxknx1fwxmni_f.png?version=1689508962425090110 | B390
Granulateur | *Powder shaping, pellet production from biomass. *Application:Transformation of biomass into pellets. *Nature of samples:Biochare , algae , fertilizer, compost; biomass pellets :Wood straw , Rock phosphate. *Capacity of samples per day:4 | 50 | reservable | equipment | https://public.qreserve.com/1dtv9csem7c6bq0qlnwrfjywutno0c2g2283a2_f.png?version=1689618284793512572 | S4 WE 320
Sonificator | *Homogenization, degassing, emulsification, DNA extraction, bacterial lysis, oil nanoemulsions. *Applications:Bacterial lysis ,Homogenization ,Solubilization ,Preparation of emulsions ,Extraction. *Natures of samples:Biological cells, liquid samples such as solutions, emulsions or suspensions, Solid samples: In certain cases. *Capacity of samples per days:8 | 10 | reservable | equipment | https://public.qreserve.com/f90m8z23r7gdxdgzrpogqontg69l174yh05cb_f.png?version=1689192802802868967 | VCX1500
Tensiometer | *Measurement of surface tension between liquid and air or liq/liq-measurement of contact angle. *Nature of samples:Water, aqueous solutions, organic liquids, oils, organic solvents. *Capacity of samples per day: 24 Samples. | 10 | reservable | equipment | https://public.qreserve.com/9073p24gsrk0tybeehhg2l75ze5c01itk7o0_f.png?version=1689192814679643959 | OCA 15EC
Bioreactor | Development and multiplication of microalgae culture. Nature of sample:Liquid microalgae culture Capacity of sample:1 sample per 20 to 30 days | 120 | reservable | equipment | https://public.qreserve.com/h2rfqlkdx5j2r0tkxci5b2uhdpiu3zf1e4ueg_f.png?version=1689863062844008811 | Jupiter 2
Incubator Shaker | Harvesting large microalgae biomasses from small quantities Nature of samples:Liquid microalgae culture capacity of samples:1 sample per 20 to 30 days | 200 | reservable | equipment | https://public.qreserve.com/tpno7idzq8rd346ndxnkmsc7gdrs2ilmbbkop_f.png?version=1689192762131062265 | INNOVA 44R-44
Inverted Microscopes Nikon | Studing the evolution of microalgae cells (Number, size and morphology..) Capacity of samples:20 per day Nature of samples:Cells | 200 | reservable | equipment | https://public.qreserve.com/ha3q4crxuuovmqf1e1llm6o09ilggawwt08ak_f.png?version=1689192764745567052 | TS2-S-FL
Microscope | Observation of the cellular morphology of microorganisms Capacity of samples:20 per day Nature of samples:Cells | 200 | reservable | equipment | https://public.qreserve.com/cfebqljui1vedy749mip3g3nvm6lzy4h93u20_f.png?version=1689192775845311278 | Eclipse CiL trinoculair
Photobioreactor | Microalgae culture. Nature of sample:Microalgae and cyanobacteria Capacity of sample:1 to 2 sample per 30 days | 900 | reservable | equipment | https://public.qreserve.com/1b3d4qwqcnshfgrc0ziabjfbjvind4boztg6el_f.png?version=1704883187057723574 | ELARA ST 4.0
Spectrometre UV-VIS | Optical density and absorbance measurement Determine the absorbance of a sample and the concentration of cells or specific molecules in a microorganism Capacity of samples per day:50 Nature of samples:Liquid solution | 200 | reservable | equipment | https://public.qreserve.com/10d1xmmaibf43qzxtf4ws0kfrlj22z80q31ybj_f.png?version=1689192807195092662 | UV-1900 I
Sterilizer | Sterilization of coves Capacity of samples per day:70 Nature of samples:Coves - Anses | 100 | reservable | equipment | https://public.qreserve.com/t3v6sdku6r152815nyfja61xuafbw3d8yfaxb_f.png?version=1689874574393507146 | BA6101
Gel Electrophoresis | Electrophoresis gel migration | 100 | reservable | equipment | https://public.qreserve.com/13jx4gnho6mm1168fmh6lnb9jw47vmqr6cwv1f_f.jpg?version=1689882621310678425
Grinder-homogenizer | Sample grinding for DNA extraction or assay (leaves, roots, microorganisms, soil) | 20 | reservable | equipment
Growth Chamber 1 | Plant growth chamber | 40 | reservable | equipment | https://public.qreserve.com/1cr35jlie8jocxansu5g10sdkokrpgsu0wo87c_f.png?version=1689192754997614327 | ECP01
Growth Chamber 2 | Plant growth chamber | 40 | reservable | equipment | https://public.qreserve.com/bnj9jrbmmcu1ni47konmikss0sqk1j46ay6k0_f.png?version=1689854672480444572 | Labs premium-snijders
Horizontal autoclave | Sample Sterilization | 50 | reservable | equipment | https://public.qreserve.com/14k40ctcf37bcohuicd274980rtfxx71hfwsnc_f.png?version=1689880431066504234 | Systec DX45
Incubator shaker 1 | Agitation-Incubation of liquid samples Capacity of samples per day:30 | 40 | reservable | equipment | https://public.qreserve.com/68xyyr6csqo6nk456bzrbiedrxj0rrxmu2e80_f.png?version=1689869869936165617 | KS 4000 IC C S000
Incubator shaker 2 | Agitation-Incubation of liquid samples Capacity of samples per day:30 | 40 | reservable | equipment | https://public.qreserve.com/mn3iwnflnjgyvvq0tgxgc8cnt2yrp7n5nnc8q_f.png?version=1689869897701817974 | KS 4000 IC C S000
Incubator shaker 3 | Agitation-Incubation of liquid samples Capacity of samples per day:30 | 40 | reservable | equipment | https://public.qreserve.com/1027wwhwp686kztaqkpddrwecq3t6ofigzp9c_f.png?version=1689869928251414894 | KS 4000 IC C S000
Incubator shaker 4 | Agitation-Incubation of liquid samples Capacity of samples per day:30 | 40 | reservable | equipment | https://public.qreserve.com/1fdkhfsctn4m93b55cln2jrlg8sswyauzu5bhr_f.png?version=1689869946697866425 | KS 4000 IC C S000
Incubator shaker 5 | Agitation-Incubation of liquid samples Capacity of samples per day:20 | 40 | reservable | equipment | https://public.qreserve.com/5bhsz93a9wvuhnfxerjaj3a9l5q99fcvcykqd_f.png?version=1689870391293888446 | ES-20/60
Incubator shaker 6 | Agitation-Incubation of liquid samples Capacity of samples per day:20 | 40 | reservable | equipment | https://public.qreserve.com/dmi33dp6hgtdbuc9qolf581k6kvmtoepeaurh_f.png?version=1689870641655462548 | ES-20/60
Inverted Microscope | Microscopic observation of microorganisms (bacteria - fungi, ...) | 120 | reservable | equipment | https://public.qreserve.com/11glxx1uv7hbfu0hwzecvn8pg2kr3yk6tyfwd3_f.png?version=1690303371688319349 | ECLIPSE TS2-FL
Laminar flow hood Bacteria | Asceptical work (bacteria) | 50 | reservable | equipment | https://public.qreserve.com/1l29b2hsyfvb8cen76rky2c256u7ul7c8eqqro_f.png?version=1689872864800965165 | Herasafe 2030i 1.5
Laminar flow hood for pathogens | Asceptical work (pathogens) | 50 | reservable | equipment | https://public.qreserve.com/q4ek1j8qgsw5rcyr3ocazsnujjybpf4r66bnz_f.png?version=1689873182279327789 | Herasafe 2030i 1.5
Laminar flow hood Fungi | Asceptical work (fungi) | 50 | reservable | equipment | https://public.qreserve.com/ggvuc56ogi8ftdyo4wr8b1zmpn1eo93i6gdoi_f.png?version=1689872907542609410 | Herasafe 2030i 1.5
Microbial Cell Counter | Cell counter Capacity of sample per day:30 Nature of samples:Liquid | 200 | reservable | equipment | https://public.qreserve.com/1chu4hpypkeivv9a9vu3qykdgbieqsdbvj1g74_f.png?version=1689192773908053386 | Quantom Tx
Optical microscope | Microscopic observation of microorganisms (bacteria - fungi, ...) | 100 | reservable | equipment | https://public.qreserve.com/1kt9077qvw325nxypwyyiquwpj4j428d9i7kqn_f.png?version=1689868382465833739 | Optech-Optical
Stereo-Microscope with Camera | Observation and images of roots/leaves/microorganismes | 150 | reservable | equipment | https://public.qreserve.com/1a18icrqw159h6uop1310tu397dnmmadqls7ug_f.png?version=1689192811246105492 | Nikon SMZ25
Vertical Autoclave 1 | For sample sterilization | 50 | reservable | equipment | https://public.qreserve.com/yjc0gtwgu4jsdm5u5twi4j2lr07bpag7c5twd_f.png?version=1689192821503359403 | Vapor Line 135-B
Vertical Autoclave 2 | Sample Sterilization | 50 | reservable | equipment | https://public.qreserve.com/7u7xlzthckmoy5r0lg8dyi6c3sbtp5ianwkce_f.png?version=1689192822408188351 | AE 150 Dry
Vertical Autoclave 3 | Sample Sterilization | 50 | reservable | equipment | https://public.qreserve.com/3f51ro9p7hd48tiepb0mtr8zr5rfcvlyyk1n4_f.png?version=1689866883189113186 | Systec 3870 ELV
Fluorimeter | Application:Measurement and analysis of chlorophyll fluorescence Capacity of samples per hour: 30. Nature of sample:Plant leaves | 300 | reservable | equipment | https://public.qreserve.com/159j9yc7yw6hn2318qaolf79w9i0kslx3oumj3_f.jpg?version=1716477272744537770 | Handy PEA+
WinRHIZO | Root sccanner Application:Analyze the morphology and architecture of the root system Capacity of samples per hour: 12. Nature of sample:Plants roots | 300 | reservable | equipment |  | EU-235
Ceptometer | Photosynthetically, active radiation Capacity of samples per hour : 60. Nature of samples : Plant. | 20 | reservable | equipment | https://public.qreserve.com/19f7nnk448de2tngn90tc92jwbid4qddwjumw5_f.png?version=1689192723912854737 | ACCUPAR LP-80
Chlorophyl-Meter | Measurement of the chlorophyll content. Capacity of samples per hour: 270. | 30 | reservable | equipment | https://public.qreserve.com/524erdmkkgu5rt71dtfb8jd6ybswwpchcq0ip_f.png?version=1689192727692379603 | CCM-200
Colorimeter Minolta CM-5 | *Measurement and quantification of color using the Lab* color space. L*, a*, and b* are colorimetric values that represent different aspects of color. *Nature of samples:Solid materials: Seeds and flour. *Capacity of samples per hour : 30. | 20 | reservable | equipment | https://public.qreserve.com/11iwpos2yrzqeu0hvw4fgdie8jjunop2zb12u5_f.png?version=1689192729752276161 | CM 5
Cyclone Mill Twister | Grinding and homogenizing samples prior to analysis Nature of sample : Seeds (cereals and legumes). Capacity per hour : 20. | 20 | reservable | equipment | https://public.qreserve.com/nvytdfc0ct4h4j774u7gd8eoz841zptb5tqjw_f.jpg?version=1689379254139118833
Farinograph-AT | Measurement of rheological properties of dough during mixing such as water absorption, mixing time, dough development time, stability, Degree of softness, quality score. Capacity of samples per hour: 1. Nature of samples : Flour. | 200 | reservable | equipment | https://public.qreserve.com/bjn818rsk1ixw9v7zfcseb51atpoeijkbu68y_f.png?version=1689192745400621273 | 821010.02
GrainScan | Measurement of various parameters of individual grains or grain samples, such as Length, Width, Area, PErimeter, Thickness, shape, Circularity, thousand kernel weight. Capacity of samples per day : 200. Nature of samples:Cereals (Durum wheat, Bread wheat, Barley, Quinoa) and legumes seeds (Chickpea, lentils and Vigna). | 40 | reservable | equipment | https://public.qreserve.com/qiy5fc7rfg8wbuuaj653b8yk1fhf996s6amwz_f.png?version=1689192753902936145 | OPTOAGR PMG 101
Infrared Thermometer | Canopy T°. | 10 | reservable | equipment | https://public.qreserve.com/uahwngyjawjnm1mbz4j96epz7tuia5zpcjmrm_f.png?version=1689192763820980621 | 835-H1
Leaf Area Meter | Measurement of the total leaf area.. Capacity of samples per day : 200. | 40 | reservable | equipment | https://public.qreserve.com/yx5b89kv09h3v9ogz6p8tzk1r3m4nco8yqzx8_f.jpg?version=1689525821814785563 | LI- 3100C
Near-Infrared Spectroscopy | Analysis of the interaction between near-infrared light and matter to determine the composition and properties of materials (Seeds and Flour). Available Calibration : Cereals and Legumes. Available Traits : Protein, Fiber, Moisture, Fat, Ash, Starch. Minimum required Weight : 10g. Nature of samples : Seeds and flour of cereals and pulses. Capacity of samples per day : 200. | 50 | reservable | equipment | https://public.qreserve.com/rhxtk10aedk9e6dcr199z8dbchhp9p1zbehzs_f.png?version=1689192778378668855 | NISRS DS2500
Porometre | Stomatal conductance. Measurement of air or water vapor flow through stomatal pores, to provide information on plant water status, photosynthetic activity and general plant health. Capacity of samples per hour:160 Nature of sample :Plant leaves | 40 | reservable | equipment | https://public.qreserve.com/17f5cnruc5jr3fel2heiwa6qb7kp40ncfu7g02_f.png?version=1689192791417068536 | AP4 POROMETR
Quadrumat Junior | Refined Flour yield Grinding or milling small grain samples to obtain representative flour samples | 50 | reservable | equipment | https://public.qreserve.com/1fzrp7u10x0m5lbuatcd4891v44yks3o0jkgl6_f.png?version=1689192793305204828
Seed Counter | Automatic Counting of large quantities of seeds accurately and efficiently. Capacity of samples per day: 200 Nature of samples: Seeds | 10 | reservable | equipment | https://public.qreserve.com/hr0em8bk8knkfcsgqk7nyv1jtpm6jmoc0x1gx_f.png?version=1689192798353381725 | Data count S25 PLUS
Spectrophotometer |  | 20 | reservable | equipment | https://public.qreserve.com/1chpgyaaj0otiyq4fys9feluxz6tnaxuly249w_f.jpg?version=1689439003058613715 | Ultraspec 7000
Chemical Analysis of Soil - Pack analysis | Soil chemical Analysis - Pack analysis | 300 | reservablerequestable | service | https://public.qreserve.com/ms9st7nncq082krdqjj8h15azvtx2agspd655_f.jpg?version=1689592596697487274
Chemical Analysis of Plant - Element analysis | Chemical Analysis of Plant - Element analysis | 50 | reservablerequestable | service | https://public.qreserve.com/agy07ifgg5zwnaul3r8jd6x6v10i11n9x50uo_f.jpg?version=1689686562869796954
Chemical Analysis of Plant - Element analysis | Chemical Analysis of Plant - Element analysis SamplePreparation skalar Method total Nitrogen Kjeldhal Method Phosphore P skalar Method Calcium Ca SAA /ICP Potassium K SAA /ICP Magnesium Mg SAA /ICP Sodium Na SAA /ICP Chlorure Cl skalar Method Soufre S ICP-OES Trace element (Cu, Fe, Mn, Zn) SAA /ICP Boron B ICP-OES Cadmium Cd ICP-OES Plomb Pb ICP-OES Arsenic As ICP-OES Cobalt Co ICP-OES Slives Ag ICP-OES Baryum Ba ICP-OES Vanadium V ICP-OES Nickel Ni ICP-OES Chrome Cr ICP-OES Molybdene Mo ICP-OES Mercury Hg ICP-OES | Quotation | reservablerequestable | service | https://public.qreserve.com/e8hed4a50ouqozezvhy2wm7bvvs7y85d384s0_f.jpg?version=1710757208482123526
Chemical Analysis of Plant - Pack analysis | Chemical Analysis of Plant - Pack analysis Pack 1 : Preparation and digestion + (N, P, K, Ca, Mg) Pack 2 : Pack1 + (Cu, Mn, Fe, Zn, B) Pack 3 : Pack 2 + Heavy Metals (Pb, Cd, Ni, As, Co, Cr, Mo, Ag, Ba, Be, Ti, V, Se, Sr, Sb, Hg) | 300 | reservablerequestable | service | https://public.qreserve.com/1io1s2hdg2xbk8mgpccw9drj8jgtxz9auxk2g7_f.jpg?version=1710757341608403239
Chemical Analysis of Plant - Pack analysis | Chemical Analysis of Plant - Pack analysis | 300 | reservablerequestable | service | https://public.qreserve.com/1hanwmza6m6tx3f7kz5eh3vkg5jhft1koumtww_f.jpg?version=1689686631081399071
Other Analysis (Fertilizer, Compost...) - Element analysis | Other Analysis (Fertilizer, Compost...) - Element analysis | Quotation | reservablerequestable | service | https://public.qreserve.com/nceyvirj9ofww4pgdj6uxpmaob1hz3ifiwbn_f.jpg?version=1689695276070823700
Other Analysis (Fertilizer, Compost...) - Element analysis | Other Analysis (Fertilizer, Compost...) - Element analysis Preparation skalar Method total Nitrogen NTK Kjeldhal Method Phosphore P skalar Method Calcium Ca SAA /ICP Potassium K SAA /ICP Magnesium Mg SAA /ICP Sodium Na SAA /ICP Chlorure Cl skalar Method Ammonia Nitrogen N-NH4 (Extract 1/5) - Skalar Method Soufre S ICP-OES Traces element (Cu, Fe, Mn, Zn) SAA /ICP Cadmium Cd ICP-OES Plomb Pb ICP-OES Nickel Ni ICP-OES Chrome Cr ICP-OES Arsenic As ICP-OES Mercury Hg ICP-OES Aluminium (Al) ICP-OES Baryum (Ba) ICP-OES Boron (B) ICP-OES Chrome (Cr) ICP-OES Cobalt (Co) ICP-OES plomb (Pb) ICP-OES lithium (Li) ICP-OES magnesium (Mg) ICP-OES molybdene (Mo) ICP-OES phosphore (P) ICP-OES potassium (K) ICP-OES selenium (Se) ICP-OES sliver (Ag) ICP-OES sodium (Na) ICP-OES thallium (Tl) ICP-OES titane (Ti) ICP-OES vanadium (V) ICP-OES | Quotation | reservablerequestable | service | https://public.qreserve.com/5ele0qil4gmf5supurzhm7ckghjnqd9wpk8os_f.jpg?version=1710757392162393829
Physical Analysis of Soil - Element analysis | Physical Analysis of Soil - Element analysis | 100 | reservablerequestable | service | https://public.qreserve.com/nl9rn8c6x6w13r37bn8ddryktgjer5ywbjnha_f.jpg?version=1689593166381086107
Physical Analysis of Soil - Element analysis | Physical Analysis of Soil - Element analysis Analysis: Aggregates stability Bluk Density Field Capacity Granulometry - Particle size 3 Fraction Granulometry - Particle size 5 Fraction Infiltration rate & Ks (in situ) Particle's density Permanent Wilting Point | 100 | reservablerequestable | service | https://public.qreserve.com/k2tnvbb2qkypdna68hhktqy8hu2n6klrkycio_f.jpg?version=1710757462207924070
Physico-chemical analysis of water - Element analysis | Physico-chemical analysis of water - Element analysis | 20 | reservablerequestable | service | https://public.qreserve.com/xaa66kjwkwk9alv6g8pt0aizag9q2v9ve0o1n_f.jpg?version=1689601641875387341
Physico-chemical analysis of water - Element analysis | Physico-chemical analysis of water - Element analysis Ammonium NH4 - Skalar Method Arsenic As - ISO11885 Barium Ba - ISO11885 Boron B - ISO11885 Cadmium Cd - ISO11885 Calcium Ca - Skalar Method Carbonates and bicarbonates - Skalar Method Chloride Cl - Skalar Method Chromium Cr - ISO11885 Cobalt Co - ISO11885 Complete alkalimetric titration TAC - ISO9963 Copper Cu - ISO11885 DBO5 - NM5815-1 DCO - MA315DCO1.1 Dihydrogen phosphates H2PO4 - Skalar Method Electric Conductivity - ISO7888 Iron Fe - ISO11885 Magnesium Mg - - Skalar Method Manganese Mn - - ISO11885 Mercery Hg - ICP or SAA Molybdene Mo - ISO11885 Nickel Ni - ISO11885 Nitrate NO3 - Skalar Method Nitrite NO2 - Skalar Method pH determination - NFISO10523 Plomb Pb - ISO11885 Potassium K - Skalar Method Silver Ag - ISO11885 Sodium Na - Skalar Method Sulfates SO4 - Skalar Method Suspended matter MES - NM872 TH hardness - NM037020 Total Nitrogen - Kjeldhal Method Trace element (Cu, Fe, Mn, Zn) ICP or SAA - ISO11885 Turbidity - Internal Method Vanadium V - ISO11885 Zinc Zn - ISO11885 | 20 | reservablerequestable | service | https://public.qreserve.com/13oswhdr7ztxfasxigh5hgqzmesg13uuk7udkw_f.jpg?version=1710757530745980792
Physico-chemical Analysis of Water - Pack analysis | Physico-chemicall Analysis of Water - Pack analysis | 40 | reservablerequestable | service | https://public.qreserve.com/6rghp0l128w0jn3np0j2tihq84hq6x1i1ylxy_f.jpg?version=1689686602313621386
Physico-chemical Analysis of Water - Pack analysis | Physico-chemicall Analysis of Water - Pack analysis Pack1 : Electrical conductivity, pH Pack 2 : Pack1 + Ion balance (K, Na, Ca, Mg, NH4, Cl, SO4, HCO3, PO4, NO3) Pack 3 : Pack 2 + Trace element ( Cu, Fe, Mn, Zn, B) Pack 4 : Pack 3 + Heavy metals (Pb, Cd, Ni, As, Co, Cr, Mo, Ag, Ba, Be, Ti, V, Se, Sr, Sb, Hg) pH, Conductivity, TSS, COD, BOD5, Ammoniacal nitrogen, Nitric nitrogen, Total phosphorus | 40 | reservablerequestable | service | https://public.qreserve.com/ta7hhkb0ls85a7nsd2w4wtuw6o0l6wkqbvslh_f.jpg?version=1710757730706371155
Alpha II - FTIR | MIR Spectral Analysis measurements (Qualitative analyze). Capacity of samples per days : 48 sample. Capacity of analysis per Hour : 2 samples / Hour. Minimum samples for analysis: 5 samples. Nature of sample : Dried Powder. Optimum required weight : - Soil : 5g - 10g - Plant : 2g - 5g - Fertilizer : 5g - 10g. | 30 | reservable | equipment | https://public.qreserve.com/15aatb976748nra0l9woios5k4cv17mpyzq5mv_f.png?version=1689192714713086446
Elemental Analyser : Dumas | Elemental Analyzer : Dumas. Capacity of analysis per day : 48 sample / Day. Capacity of analysis per hour : 2 samples / Hour. Minimum Sample to analyze : 5 samples. Minimium sample amount : 5g. Nature of sample : Dried Powder. Element : - Total Carbon (TC) - Total Nitrogen (TN) - Total Hydrogen (TH) - Total Oxygen (TO) - Total Sulfur (TS) - Total Organic Carbon (TOC). | 90 | reservable | equipment | https://public.qreserve.com/r108kafwyya5sew4w7ns921bl4ns1t506jc3j_f.png?version=1689192744361347094 | Flash smart
Medium Infrared Spectroscopy - FTIR | MIR Spectral Analysis measurements (Qualitative analyze). capacity per day : 100 samples. Minimum samples for analysis: 50 samples ( for less than 50 samples better to use Alpha). Nature of sample : Dried Powder. Optimum weight required : - Soil : 5g - 10g - Plant : 2g - 5g - Fertilizer : 5g - 10g. | 40 | reservable | equipment | https://public.qreserve.com/5rw6d46shaiuih5kxwpxu0jfs1eghz8kisttc_f.png?version=1689192773032880605 | TENSOR II HTS-XT
Mortar Grinder | Soil grinding. Capacity of samples per days : 40 sample. Minimum samples for analysis: 1 samples. Nature of sample : Solid. | 30 | reservable | equipment | https://public.qreserve.com/4qgrxsebmyu2iz8sy63wgdibhrrpflk2wm9gw_f.png?version=1702564062995090349 | RM 201
XRF Spectrometer | X-ray Fluorescence : Qualitative and quantitative identification of major element (Fe, K, Ca, Zn, Mn). Capacity of analysis per day : 20 samples / day. Minimum Sample weight : 20g. | 40 | reservable | equipment | https://public.qreserve.com/1k81rtr0ryomu80fniiasf410fbe8pafosu5ou_f.png?version=1689505064191959444 | Tracer 5I
Growth Chamber | High Specification Plant Growth Chamber Application:Arabidopsis, Plant Growth, Tissue Culture, Seed Germination, Storage Insect breeding, Simulated Growing Environments Minimum Sample required:5 pots/1 tray Capacity per day:45 pots/10 trays | 40 | reservable | equipment | https://public.qreserve.com/n9hm229v64paolg0n6crudabn7s35sk3gfihh_f.png?version=1741701847118548218 | MC1750VHO-EVD
Total Organic Carbon analyzer | Chemical analysis of organic carbon content in water or liquid solutions sample type:Liquid Capacity per day:50 samples per day Minimum sample required:10 samples | 25 | reservable | equipment | https://public.qreserve.com/qweioj4vb1obkff2l0x9pbxx4xcqjy7rbf7sj_f.png?version=1741702959085641905 | TOCL-CPH
Calcimétrie de bernard | carbonate mesurement Nature of samples:Roche and sol | 100 | reservable | equipment | https://public.qreserve.com/6k32g2drphoe62ngps809ey9jlhrkhcnf1wmi_f.png?version=1738055290138177947
Conductivimetre:Fluor & Chlore mesurement | Fluor mesurement | 170 | reservable | equipment | https://public.qreserve.com/11ikij9h31hax80we043z73urkww1nopjyzpds_f.jpg?version=1734975378811580602 | Orion™ Versa Star Pro™ pH/ISE/Conductivity/Dissolved
Confection de lame mince | This lame confection service utilizes the following equipment: Heating Bonding Press Lapping machine Grinding Machine Multiplate grinder Multi Turnable Polishing Machine | 220 | reservable | service
Cutting Machine | Rock cutting | 20 | reservable | equipment | https://public.qreserve.com/1klzw78x8k244tuetsmwe0i6v93f0o0g6vi55j_f.png?version=1689192734327443500 | 1 02 04
Cutting Machine | Rock cutting | 20 | reservable | equipment | https://public.qreserve.com/c397siw0xqlvjnumgm91qfuzsf6c9yu5jn9hw_f.png?version=1689673791225601817 | 10204
Electromagnetic Soil Conductivity Measurement System |  | 1600 | reservable | equipment | https://public.qreserve.com/1m3j0nds1va7om5l8ii6qfczythlgvr6miedwj_f.jpg?version=1689379487050797568 | EM38
Gamma Probe | * Mesurement of the amount of gamma radiation produced by isotopes of potassium, thorium, and uranium. * Insitu measurement of natural gamma dose with determination of concentrations of radioisotope K, U, Th in borehole * Exploration drilling | 575 | reservable | equipment |  | MW-2035-305
Handheld Gamma Ray Analyzer | Measuring natural gamma radioactivity | 255 | reservable | equipment | https://public.qreserve.com/64ved8ikoorp88b01vzispw42yqvyxjkz6xfr_f.png?version=1689380572945554187 | GAMMA SURVEYOR VARIO
Handheld XRF Analyzer | Elementary semi-quantitative analyzes of soils and rocks | 50 | reservable | equipment | https://public.qreserve.com/an8lib4papcvzg86nsfpsdns35d5va62pz9zr_f.jpg?version=1689192755728011634 | Niton XL5
ICP-OES | Chemical characterisation, Mono element analysis. | 110 | reservable | equipment | https://public.qreserve.com/qlttwkm4d7dy8f2zk1t1hpzsoy52sf9k6aua6_f.png?version=1689192761156827180 | Avio 550 max
Jaw Crusher | Pre-crushing | 50 | reservable | equipment | https://public.qreserve.com/145uff2vfolh7eq5tt0ivl7lapidthqb2jelw3_f.png?version=1689192766313809692 | BB 100
Light Optical Microscope | *An optical facility used to view, identify, and microphotography rocks, minerals, and metal/non-metal or solid objects. This microscope is used in optical mineralogy, petrography, and metallography which focus on detailed descriptions of geological samples. *Nature of sample:Thin sections; Epoxy Blocks (25mm or 30 mm). | 100 | reservable | equipment | https://public.qreserve.com/1hcfysmdh725ykm5wtpp6mzs6ms8pdf25e3dki_f.png?version=1689459574510996041 | DM2700 P
Mortar Grinder | Grinding | 50 | reservable | equipment | https://public.qreserve.com/314coszgt2vq7tvevqget4spb54vxnhxmf9p7_f.png?version=1689192777569259664 | PULVERISETTE 2
Particle Size Analyser | Particles size distrubution mesurment | 300 | reservable | equipment | https://public.qreserve.com/1drzbtf9k6rvjsxz64btuyv5jwlm7307xl3a9d_f.jpg?version=1689192781500499388 | Masterizer3000
Planetary Mill | Grinding | 50 | reservable | equipment | https://public.qreserve.com/1ln3a67p4ujpzx2664li1d2we837lbukr3w1va_f.png?version=1689192784356982177 | PULVERISETTE 5
Planetary Mill | Grinding | 50 | reservable | equipment | https://public.qreserve.com/rnc8y487vbr49um9s58loe90t0fwholx8ztfh_f.png?version=1689192782357222457 | PULVERISETTE 5
Polissage de lames et de sections | Thin section polishing | 165 | reservable | equipment | https://public.qreserve.com/11p60v2n2wwfe2ylilt2pl2yrptw4k0kcc9wfp_f.png?version=1689192788482494596 | 1 03 17
Proton Magnetic Resonance Probing System |  | 6000 | reservable | equipment | https://public.qreserve.com/b9ws8zuhzif8tmwb1meysg1liif8gznho6ja0_f.jpg?version=1689459959086595884 | NUMIS POLY
Resistivity Meter | * Exploration and mine reconnaissance of the phosphate series,hydrogeophysical study of phosphate,deposits Substances prospecting. * Application:Electrical Resistivity Tomography (HRT). * On-site measurement. | 1600 | reservable | equipment | https://public.qreserve.com/14qion4qmzbiiegijem8mvd4i42p80xa1nyclj_f.png?version=1689437489410373074 | SYSCAL Switch Pro
Stereo Microscope | An optical microscope variant designed for low-magnification observation of materials, typically using light reflected and transmited of a sample. Microphotography; optical mineralogy; petrography; metallography, metallurgy; micropaleontology Nature of samples:Solid samples; Powders; Thin sections; Epoxy Blocks. | 100 | reservable | equipment | https://public.qreserve.com/1eu55gl2h15o4s63twtpspxk93v3pl02f2ak2c_f.png?version=1689192812249165441 | M165 C
Vacuum Embedding Set | Embedding of porous and brittle samples. Nature of sample: Powder. | 40 | reservable | equipment | https://public.qreserve.com/jck36yudjk71ik7q1o8s4iiq3a9rn9f4785ki_f.png?version=1689460512451614789 | 1 04 05
Vibrating Cup Mill | Grinding | 50 | reservable | equipment | https://public.qreserve.com/mwps8pm43vwpkxpzi8vf4cu5fbw9963inlga_f.jpg?version=1689621685345440216 | PULVERISETTE 9
XRF Spectrometer | Chemical characterisation. Nature of samples:Rock and soil powder | 270 | reservable | equipment | https://public.qreserve.com/1dr49uomey0eacygs5w5v0hur8wwkqzxmsll7z_f.png?version=1689508788898016203 | ZSX Primus IV
Abrams Cone |  | 50 | reservable | equipment | https://public.qreserve.com/11uihvq3h00prfnm2w6i2nopjx0ywjmtfhysaw_f.jpg?version=1689192713753874450
Automatic Prisometer/Plunger for Consistency Test | Determine the cement setting time | 500 | reservable | equipment | https://public.qreserve.com/b0qmkd2l7ha9nhpg859i1d3bmq07kwid7wstc_f.jpg?version=1689379026835690410 | LO722
Chatelier Mold | Determine cement stability | 50 | reservable | equipment | https://public.qreserve.com/sc147ukl8hikuan60q63n4qyrpmlrj06l8rwj_f.jpg?version=1689379151010964968
Concrete Mixer | Preparation of concrete formulations | 100 | reservable | equipment | https://public.qreserve.com/18eioqsny7tpay3ng9lst0s76rnamuhzbgzfi6_f.jpg?version=1689192731306833443 | 55-C0199/9A
Cubic Steel Mold | Standardized mortar making | 40 | reservable | equipment | https://public.qreserve.com/1fss8crv5lo6cy3ifu8sq8faw52fyod7czf8w5_f.jpg?version=1689192732224448887
Cylindrical Mould | Standardized concrete making | 40 | reservable | equipment | https://public.qreserve.com/1eavu6726bjuocmf4ymclibjm887hrpxmbobcd_f.png?version=1689617294683477289
Disc Mill | Grinding of samples. Nature of samples:Rock & soils Optimim mass required:1600g | 80 | reservable | equipment | https://public.qreserve.com/hr0z9pi3g4t1c5etfyub5gsdi1gofbbf5zt3k_f.png?version=1689192738473874609
Diver for cement consistency test | Cement consistency test. Nature of samples:Ciment | 100 | reservable | equipment | https://public.qreserve.com/aalscidyoh7rdh0nrajw2c9qj6s9b4e7y2znw_f.png?version=1689580593047837520
Electrical Sewer Table + 2 Brass Moulds + Stitching Rod | Determine the mortar consistency Nature of sample:Cement & mortar | 100 | reservable | equipment | https://public.qreserve.com/1bt0g4l7uoa0zqzb8axf4d7953cr0neijj8dvu_f.jpg?version=1689544463878913063 | E0087/EN
Galvanized mold 10 cm * 10 cm | Preparation of samples for thermal conductivity testing. | 40 | reservable | equipment | https://public.qreserve.com/187d5y0sm35qufyzn0get98qud5oc9j1bugwyq_f.png?version=1689617763464594569
Galvanized mold 30 cm * 30 cm | Preparation of samples for thermal conductivity testing. | 40 | reservable | equipment | https://public.qreserve.com/zbxajytgiybpviswlqzwltjjno0th5sgr8bvx_f.png?version=1689617850278862105
Grinding machine for concrete test | Surface coating of concrete test pieces Nature of samples:concrete | 50 | reservable | equipment | https://public.qreserve.com/e6mxftd155rgwp4q1y8hnjxdrun855dxienqr_f.png?version=1690276077775066704 | 55-C0201/B
hydrostatic weighing frame |  | 200 | reservable | equipment | https://public.qreserve.com/j8r897k8daj65ilwdsg800pce8l47tmbt98nm_f.jpg?version=1704708053727444129
Impact table + Moulds 4*4*16 | Standardized mortar making Nature of samples:Cement & mortar | 40 | reservable | equipment | https://public.qreserve.com/p4x1cyif85x3qhc8vu091b6n3jzred8xryqht_f.jpg?version=1689532843588496583 | YGM12166
Los Angles | Shock resistance | 250 | reservable | equipment | https://public.qreserve.com/1dw81u7272kjc4ghoi4eru719gya335up8k728_f.png?version=1689437203888878438 | 48-D0500/G
Mechanical Concrete Press | Mechanical crushing test on concrete test pieces.. | 100 | reservable | equipment | https://public.qreserve.com/168r5qo5v05ekc478hjf803ls45il4qb3v5mcx_f.png?version=1689619017012904012 | C57F02/M
Mechanical Press | Determine compressive strength and bending strength | 200 | reservable | equipment | https://public.qreserve.com/55tsogvvw6n7by86l3ygc4y0ka96ap99ke55z_f.jpg?version=1689458885678482577 | E0160
Micro-Deval | Wear resistance Nature of sample:aggregate | 300 | reservable | equipment | https://public.qreserve.com/m0pdb59g28wk9uwlvgjgnx2avd9x7xiltfgfo_f.png?version=1689459260887949310 | 48-D5242/A
Mixer (Electric Concrete Mixer) | Standardized concrete making | 100 | reservable | equipment | https://public.qreserve.com/1bd6wnqkenf142kmq9zuzx26hl81tbzxcnooph_f.png?version=1689542007026111200
Mixer for VB and VBS | Test for VB and VBS | 200 | reservable | equipment | https://public.qreserve.com/xw1zcl888bz7689i6hd117zipflw2i6r0am4t_f.jpg?version=1689619235805698350 | R18
Modified Proctor | Modified Proctor test. Nature of samples: Soils | 400 | reservable | equipment | https://public.qreserve.com/vg71jgs2s6zmr2mxvx8icoo0ktv4rbtpzn2h_f.png?version=1689619707528657371
Mortar Mixer | Preparation of mortar formulations | 40 | reservable | equipment | https://public.qreserve.com/24muhzxq5iked7cxzcd6mkw3rh84nt8ydg8ie_f.png?version=1689532389879587507 | E095
Normal Proctor | Proctor test normal. Nature of samples: Soils | 350 | reservable | equipment | https://public.qreserve.com/1l06flgi9yx0sjz9u6o4oonset9w4sdkxuig41_f.png?version=1689620326390548083
Oedometer | Oedometer Test | 800 | reservable | equipment | https://public.qreserve.com/8jq249t6gt2abj9tju6nqw8t9st2lxt41938j_f.jpg?version=1689192780608414769 | WF0302
Oxygen permeometer | Determination of the permeability of beton has oxygen by the cembureau method. Nature of samples:concrete | 400 | reservable | equipment | https://public.qreserve.com/ni848cb5u3j5z7bnyn5mam2c69a1oeunyuusr_f.png?version=1690276339605024297 | 58-E0031
Penetrometer | Test the plasticity index. | 250 | reservable | equipment | https://public.qreserve.com/ykzh0iwxu1p9zi0eyp4xewbfm9jyvrbbffj0q_f.png?version=1689456019009864684 | 22-T0029/D
Piezometric Probe |  | 150 | reservable | equipment | https://public.qreserve.com/f8clv1fyuh9qw33eyfcpbotekkw1xc96ymuji_f.jpg?version=1689785341752400720
Planetary Mill | Crushing of samples for chemical analysis. Optimum weight required: 200g | 50 | reservable | equipment | https://public.qreserve.com/154krw6r48euprdpkdz2f6ara97wucma2emgf6_f.png?version=1689192783564438294 | Pulverisite5
Prismatic Steel Mold | Standardized mortar making | 40 | reservable | equipment | https://public.qreserve.com/kkj33b0cszx7ut12civ8ck3gnvzvibj2461b1_f.png?version=1689620638261432844
Pycnometer | Soil density and aggregates. Nature of samples: Soils | 200 | reservable | equipment | https://public.qreserve.com/shkwskxzzvl89aks55ec06icgycq2ytkp2ho7_f.png?version=1689619423779376775
Rock and Masony Saw | Cutting of rocks and concrete cylinders | 200 | reservable | equipment | https://public.qreserve.com/1b8bxe0c7yo7a6ql3aesb6ofh66jqco6126z0_f.png?version=1689437721377938353 | C210/D
Rotary Sample Divider | Reduction of samples. Optimum weight required: 1600g. | 50 | reservable | equipment | https://public.qreserve.com/nqpex48audflajwl7gydgpehqnk1vsp54eci_f.png?version=1689438078120960253 | 8 1Lt
Sand equivalent apparatus | Sand equivalent is an indicator, used in geotechnical engineering, characterizing the cleanliness of a sand or grave. Nature of samples: sand or grave | 200 | reservable | equipment | https://public.qreserve.com/1iaeo7brfcb7o1rwqi8skr1d7knwabbewavqex_f.png?version=1689579571760953862
Schmidt’s Sclerometer | is an instrument used to measure the compressive strength of a material, such as concrete. Nature of samples: Concrete. | 100 | reservable | equipment | https://public.qreserve.com/13559qwlkruk26ax2e061edpaarx6a8bphw3c3_f.png?version=1689580904379711048
Sieves | Particle size test. Nature of samples: Aggregates & soils | 200 | reservable | equipment | https://public.qreserve.com/13s218gx5jerssyzr54wwxg6a67ik5dg81dw94_f.png?version=1689583157739708838
Slot Grids | Flattening coefficient test. Nature of samples: Aggregate | 200 | reservable | equipment | https://public.qreserve.com/15vbg7hny21o23l2wud6skacsmen250o53hzgt_f.jpg?version=1689579196674854956
Vibrating Cup Mill | Crushing of samples for chemical analysis Optimum weight required: 200g | 50 | reservable | equipment | https://public.qreserve.com/13yriw50fc0m0dqcl1yxevqpa2myh441oxo6cz_f.jpg?version=1689621635988614350 | Pulverisite 9
Volumenometer Le Chatelier | Determine cement density. Nature of samples: Cement. | 200 | reservable | equipment | https://public.qreserve.com/1fsj1ew1cynbo8sqw6nfpp8jf3ackrikcqwtbn_f.jpg?version=1689621786497044993
BET | * BET is an analytical technique utilized for determining specific surface areas and pore size distributions of solid materials. * Nature of samples: Fine to very coarse grinded sample. | 600 | reservable | equipment | https://public.qreserve.com/1lbnu147dqn5vhlfjyga3gp3dbh8rk71mqx12z_f.png?version=1689593145091885410 | GeminisVII
Centrifuge | A high-performance benchtop centrifuge for large sample volumes | Internal Use only | reservable | equipment | https://public.qreserve.com/9g0fxuqozg3z6x7bf0jqc04qh12lctev4gtey_f.png?version=1690279557221426122 | ROTINA 420
Flocculation Tester | * Flocculation Jar Tester is designed to stimulate the process of adding reagents, precipitation, coagulation reaction which occurs in water traitement procedures. * Nature of samples:Fine to medium grinded sample | Internal Use only | reservable | equipment | https://public.qreserve.com/dvu92skthzcx0mipglh8e6buhhgchtbz5z1c1_f.jpg?version=1689603396882698541 | JLT6
Flotation machine 2 | * Flotation machines are commonly used to evaluate a materials amenability to froth flotation processing. * Nature of samples:Fine to medium grinded sample | Internal Use only | reservable | equipment | https://public.qreserve.com/11ocw08hmfpvm56mmcskx928aws9evesbmna4r_f.png?version=1689602596061701768 | XFD-12
Fridge 1 | Samples Storage | Internal Use only | reservable | equipment | https://public.qreserve.com/1kx67956404br1b139bvrgevijcnjplct2vmzv_f.png?version=1690278030222580060 | RDNE55X
Fridge 2 | Samples Storage | Internal Use only | reservable | equipment | https://public.qreserve.com/1e6swojyyi5gtpe606asgave9gd9oj7e85rc1l_f.png?version=1690278164910049998
Gaz Pycnometer | *The AccuPyc II Series of Pycnometers (Gas pycnometer) provides high-speed, high-precision measurements for determining the true density of powders, solids, and slurries. * Nature of samples: Fine to Granule grinded sample | 300 | reservable | equipment | https://public.qreserve.com/129unzg97l1100szbybnn2efnd1otvkqqvyxi1_f.jpg?version=1689593400563847360 | AccuPyc II 1345
Inverted Optical Microscope | *An optical facility used to view, identify, and microphotography rocks, minerals, and metal/non-metal or solid objects. This microscope is used in optical mineralogy, petrography, metallography, metallurgy and micropaleontology. The instrument focuses on microphotography and detailed descriptions of objects. *Applications:Automated microphotography; optical mineralogy; petrography; metallography; metallurgy; micropaleontology. *Nature of samples:Thin sections; Epoxy Blocks; Solid samples. | 100 | reservable | equipment | https://public.qreserve.com/16wpw6eccgfoi5a3c5sn8euflv3559swyityhq_f.png?version=1689618716679856406 | DMi8
Isothermal calorimeter | *Isothermal calormetry is a high resolution, real-time method for monitoring chemical, biological, and physical reaction process(es) occurring in a sample. The monitoring of heat flow over time allows for determination of the various reaction processes that may occur in a sample over minutes, hours, days, weeks, or years. Nature of samples:Cement and concrete hydration, food degradation, microbial activity | 700 | reservable | equipment | https://public.qreserve.com/zeltp6k0lghs9prq3s00k8hwqa8d7a62el1r1_f.png?version=1689594012340415278 | TAM AIR
LIBS-Material Analysis Optical Microscope | *A Laser-Induced Breakdown Spectroscopy (LIBS) coupled with an Upright Polarized-Light Optical Microscope. This LIBS microscope combines visual and qualitative chemical inspection in a single work step. The facility delivers the exact chemical fingerprint of the material’s structure that you see in the microscope image – within seconds.. *Applications:Mineral-material chemistry; Microphotography; Petrography. *Nature of samples:Thin sections; Epoxy Blocks (25mm or 30 mm), Solid samples. | 166.67 | reservable | equipment | https://public.qreserve.com/1085zpaljug8g5wp6om6kmaeebd4terxpathf7_f.png?version=1689618856667007582 | DM6 M LIBS
Oven | A laboratory oven is used for high-volume thermal convection applications. It provides uniform temperature throughout the chamber necessary for annealing, drying, sterilizing, and other lab functions | Internal Use only | reservable | equipment | https://public.qreserve.com/u6u0whv4fguq3y03kyrf398a4uccsa51biu0y_f.png?version=1690278404616450954 | UN260
RotaVapor | A rotary evaporator is a laboratory instrument commonly used for the distillation, extraction, and purification of samples. Solvant separation under reduced pressure | Internal Use only | reservable | equipment | https://public.qreserve.com/wp8c76ar48kixttou1ajd6syy4bgh48rvanpw_f.png?version=1690279148386976337 | RS 100-PRO
Scanning Electron Microscope | - Integrated and automated Mineral Analyser. - Nature of samples: Epoxy Blocks (25mm or 30 mm); Thin sections (27x47mm); SOLID samples. | 500 | reservable | equipment | https://public.qreserve.com/1hlceppgclh1tw8yhfn7ncxac4gerhbhsmkays_f.png?version=1689621328530467624 | TESCAN TIMA
Thermogravimetric Analysis | * The equipment allows a real simultaneous measurement, from ambient temperature up to 1500 ° C and on the same sample of : Heat flux (DSC), mass loss (ATG) and differential thermal analysis (DTA). * Nature of samples:Fine to medium grinded sample * TG/ATD 1400°C maximum * TG/DSC 1100 °C Maximum | 600 | reservable | equipment | https://public.qreserve.com/wfssud42y43h1y6btqbvpbmz6xyd5asuh3sbm_f.png?version=1689592291541334503 | Themys one +
XRD | * Nature of samples: Solid powder (-30 µm). | 300 | reservable | equipment | https://public.qreserve.com/e28s92wcz8pgkgmiibmkfku9l2octqzzsjz4h_f.jpg?version=1708335900993546124 | MiniFlex 600
XRD Micronizing Mill | * Micronizer mill for preparation of samples for XRD analysis. * Nature of sample : Geological sample. | 100 | reservable | equipment | https://public.qreserve.com/1stdwp6fraxeri68k8ml8nis83hg44rtuym86_f.jpg?version=1708337951706196395 | XRD-MILL MCCRONE
Zetasizer | *The Zetasizer Nano Zen3600 is a high performing two-angle particle and molecular size analyzer, used for improved detection and measurement of small and dilute samples. This instrument measures size, zeta potential, molecular weight and mobility of dispersed particles and molecules in solution, applying dual angle Dynamic Light Scattering (DLS), Non-Invasive Back-Scatter (NIBS), Static Light Scattering (SLS), and Electrophorectic Light Scattering (ELS). *Nature of samples: * Micronized grinded powder sample under 20 µm For Zeta potential naturel mesurment. * Micronized grinded powder sample range of 0.3 nm to 1 μm for Zeta potential titration and Particle size mesurment. * Liquid for Development of the method (analytical conditions). | 400 | reservable | equipment | https://public.qreserve.com/1jpivi2lfboahpjiimmd1mmmpt62zmnd2o83t7_f.png?version=1710717780740181090 | ZEN3600
Chemical Vapor Deposition | Deposit thin layers onto a sustrate. Temperature range : 0 - 1700°C. Gaz available : - CH4 - Argon - Nitrogen | 500 | reservable | equipment | https://public.qreserve.com/79c87lx4kk55tknzh76wgdlu4nxuvxeq6z399_f.png?version=1689192725867616232 | PT-1700-80*220*3-F4
Tubular Furnace | Growth of crystals. Temperature range : 0 - 1500°C. | 500 | reservable | equipment | https://public.qreserve.com/w95melnzo89a406fwvou4jv0zcd0xoegvl5sb_f.png?version=1689439267523669730 | R120/500/12
Simultaneous Thermal Analysis | The simultaneous thermal analyzer allows the measurement of mass changes and thermal effects between 30°C and 1500°C. Sample matrix : Inorganic Material Optimum Sample weight : 15 mg. Parameters : - Thermal Gravimetic Analysis (TGA) - Differential Scanning Colorimetry (DSC) - Differential Thermal Analysis (DTA) - Heat Flow Analysis (HFA) | 250 | reservable | equipment | https://public.qreserve.com/fshl3onjbmbkhlkjbyiw9twnp5drhvmgx94np_f.png?version=1689438600716829940 | STA449 F3
Atomic Force Microscope | The topography, and the profiles of almost any surface (thin film), can be measured with nanometric resolution. . -Samples type: Thin film; - Capacity per day :3 samples - Minimum Sample required:1 | 564 | reservable | equipment | https://public.qreserve.com/1k4iaq1yi7bwt3igfr7npgakzg4czf9xf7k620_f.png?version=1719695797683872134 | Dimension Icon
Contact angle | Contact angle, surface and interfacial tensions measurements system -Samples type: Substrate -Minimum sample required = 1 - Capacity per day :3 samples - Minimum weight required: 1 Gr | 127 | reservable | equipment | https://public.qreserve.com/12t8ixc6eb2m509s3ykj20byovuoygzqaq1eie_f.jpg?version=1719695925876631770 | OCA 40
DSC | Differential Scanning Calorimeter measure temperatures and heat flows associated with thermal transition in a material such as glass transitions, phase change, melting, crystallization, product stability, cure and oxidative stability. The TA Instruments Q100 DSC is a high-throughput, versatile instrument and is capable of temperature ranges from -90°C to 550°C and running up to 50 automated samples using up to 5 reference pans. -Samples type: Solid; - Minimum Sample required :1 - 2 gr | 144 | reservable | equipment | https://public.qreserve.com/x2ym99yvgs0qiak2ojs5c1bkvyzkmyx6mdn7f_f.png?version=1719696046822744841 | DSC Q100
GC-MS | Agilent 7890A GC System. Detector: Mass spectrometry 5975C Agilent. 16 Tray liquid injecteur. Headspace A range of columns of different polarity and affinity *Analysis of essential oils. *Analysis of plant extracts. *Lipidomics. *Analysis of any matter dissolved in a solvent. *Analysis of ethanol production and nitrogen fixation capacity. *Analysis of semiochemicals from plants and insects. *volatile compound analysis. -Samples type: Liquid; - Capacity per day :8 samples - Sample type:Liquid | 173 | reservable | equipment | https://public.qreserve.com/5ijh6v8nt0csr6gslitot9973xu2ogoqo60na_f.png?version=1719696478327434887 | Agilent 7890A GC System. Detector: Mass spectrometry 5975C Agilent.
LN2 - Liquid Nitrogen |  | 38.14 | reservablerequestable | consumable | https://public.qreserve.com/1hd3rgni40gye2ypdea1yomfd3zayuuqp4cti7_f.png?version=1732269910492758076
Profilometer | Surface characterisation, topography, thikness and roughness measurement. -Samples type: Thin film; - Capacity per day :3 samples - Minimum Sample required:1 | 74 | reservable | equipment | https://public.qreserve.com/6c5rwzgea1y2hoydd89nauz20zgtrkglxc660_f.jpg?version=1719697077560180010 | DEKTAKT XT
PSA | Particle size distrubution. -Samples type: Particle (10 nm- 3 mm); - Capacity per day :3 samples - Minimum Sample required:5Gr | 215 | reservable | equipment | https://public.qreserve.com/19q8m4jlhfwmsgyycei13el8f5yykqlqn16ryv_f.png?version=1719696655451793035 | MASTERSIZER 3000
Skalar SAN++ | The Skalar San++ Flow Continuous Analyzer is a sophisticated and automated instrument designed for the analysis of various chemical parameters in liquid and solide samples (soils, fertilizers,waters, plant digests, nutrients, pharmaceuticals, etc.) It is commonly utilized in environmental, industrial, and laboratory settings to measure concentrations of specific compounds or elements including N,P,K,Ca,Fe,Na,Mg, etc. The San++ provides flexibility and the possibility to extend the system according to any analytical needs. Spesifications: -3 chemistry manifolds; -High-resolution digital photometric detectors; -Segmented Flow Analyzer; The Flow Continuous Analyzer streamlines the analytical process, improves productivity, and delivers precise and consistent results, making it a valuable tool in various scientific and industrial fields. -Samples type: Liquid,Solid; - Capacity per day :20 samples - Minimum Sample required:3 | 114 | reservable | equipment | https://public.qreserve.com/15164a4zaaz2u70moxk8d181l7xopkqg6wdtaq_f.jpg?version=1719697180850492377 | SAN++ SA3000
Superspeed Centrifuge | Superspeed Centrifuge:Sample with density lower than 1.2g/cm3, liquid except solvant and inflamable products - Capacity:4 x 1000 mL, - Refrigerated:Yes - Temperature Range:-10°C to +40°C - Max. Speed:8000 rpm; - Max. RCF:11950g | 35 | reservable | equipment | https://public.qreserve.com/11ufz0ywjwob35qdtypqokx755so3phwtks2vw_f.jpg?version=1736170004334801975 | Sorvall LYNX 4000
TGA | Thermal degradation characterization; Technical specifications : - Thermal stability, degradation temperature, speed and ranges; - Powder, solid, liquid and complex samples; - Autosampler and 16 samples carousel; - Ambiant to 1000°C temperature control ; - Kinetic studies -Samples type: Solid; - Minimum Sample required :1 - 2 gr | 183 | reservable | equipment | https://public.qreserve.com/16zken7go6qwehgv2a6tf57i0wajjlqu4cva38_f.jpg?version=1719696119652171667 | TGA Q500
UV-Vis-NIR | Spectroscopic analysis of absorption in the spectral range between ultraviolet and near infrared (190 nm to 3300 nm). The liquid or solid sample can be analyzed in transmission mode or by surface reflection. UV/Visible/NIR spectroscopy is of limited use for sample identification but ideal for quantitative measurements. It is usually applied to inorganic molecules or complexes. -Samples type: Solid and liquid; - Capacity per day :3 samples - Minimum Sample required:1 | 128 | reservable | equipment | https://public.qreserve.com/q3utkhrv3t9tnq0kcamx4hjba304aarmsf236_f.png?version=1719696991255114617 | LAMBDA 1050
XRD | SmartLab SE multipurpose X-ray diffractometer is a general purpose X-ray diffraction system equipped with a thetha-thetha goniometer featuring a horizontal sample mount. It can measure and evaluate powders and thin films. -Samples type: Powders & Thin Films; | 396 | reservable | equipment | https://public.qreserve.com/jswdkpxvaieq29y932byureoyvi4ndoypjope_f.jpg?version=1719697310065902817 | SmartLab SE
Zetasizer | -The Zetasizer Nano ZS incorporates many techniques in a single compact unit: Dynamic Light Scattering (DLS) is used to measure particle and molecule size. This technique measures the diffusion of particles moving under Brownian motion, and converts this to size and a size distribution using the Stokes-Einstein relationship. Measurement of size as a function of concentration enables the calculation of kD, the DLS interaction parameter. Laser Doppler Micro-electrophoresis is used to measure zeta potential. An electric field is applied to a solution of molecules or a dispersion of particles, which then move with a velocity related to their zeta potential. An available surface zeta potential accessory uses tracer particles to measure electro-osmosis close to a sample surface to calculate the zeta potential of the surface. SPECIFICATIONS: * Particle size and molecular size Measurement range: 0.3 nm – 10.0 µm (diameter) Minimum sample volume: 12 µL Sensitivity: 0.1 mg/mL *Zeta potential Measurement range: 3.8 nm – 100 µm (diameter) Minimum sample volume: 150 µL (20 µL using diffusion barrier method) Sensitivity: 10 mg/mL (BSA) -Samples type: Liquid; - Minimum Sample required :10 - 20 ml | 109 | reservable | equipment | https://public.qreserve.com/q07eyp5efllrc3kjx0hma08xozxybzxlhhtw1_f.jpg?version=1719697445487747048 | ZETASIZER NANO SERIES 3600
Cutting Machine | Cutting metals and rockes | 150 | reservable | equipment | https://public.qreserve.com/1jngjtqyhubna8nkf7m4d9nvmewlqnp2k4ma2t_f.png?version=1689673878953610819 | Mecatome T210
Drum Mill | Grinding | 200 | reservable | equipment | https://public.qreserve.com/1w8mgu1mrqerc8xmfccjzvtr8z3icagontn2o_f.png?version=1689192739994251453 | TM 300
Dynamic Mechanical Analyzer | Generates magnified images of small objects | 300 | reservable | equipment | https://public.qreserve.com/16ytaupauenpa70cb8lc4bgny70io1be4eudrd_f.png?version=1689192741607607033 | DMA 8000
Fourier Transform InfraRed spectroscopy | Infrared spectrum of absorption or emission | 300 | reservable | equipment | https://public.qreserve.com/16twextb4rjd059msyfpn491qytkyhmi1slhhl_f.png?version=1689192748405782227 | Frontier
Hot Mounting Press | Encapsulate specimens with a mounting compound | 200 | reservable | equipment | https://public.qreserve.com/csurx4041p4nmemy3fmc1d4h96t3ms977hx1t_f.png?version=1689192759318456173 | Opal 410
Jaw Crusher | Grinding | 200 | reservable | equipment | https://public.qreserve.com/13hyjlt9dutecdi4m5hdh2cna2iubztwjos8nw_f.png?version=1689192767503807654 | PULVERISETTE 1
Mechanical Testing Machine 1-5KN | Test of mechanical characteristics | 600 | reservable | equipment | https://public.qreserve.com/11v3uh6h0g4p7fen2q7nn049u7o1lstct38r8u_f.png?version=1689192771336963865 | EZ-LX
Mechanical Testing Machine for Uniaxial/Triaxial Testing | Test of mechanical characteristics | 600 | reservable | equipment | https://public.qreserve.com/1jtzr11qu5zlip99j658764pijb6hcl6w3w08l_f.png?version=1689192772199678199 | Syntax
Microcalorimeter | Measures the heat developed during reactions | 500 | reservable | equipment | https://public.qreserve.com/2h12yhz4wfjkjq1p3p7qwrcmgj7jkd444n0st_f.png?version=1689192774828749730 | FTTC001/11311
Planetary Mono Mill | Grinding | 200 | reservable | equipment | https://public.qreserve.com/14kdd0rzc7pyr6ckk9p25ejjpym9lxcloxzfto_f.png?version=1689192785223080895 | PULVERISETTE 6
Polishing Machine | Polishing solid samples | 200 | reservable | equipment | https://public.qreserve.com/172gs4pmnnrwm6sn1flb1cqzqywagoj62w15lk_f.png?version=1689192786270174410 | Saphir 530
PSA | Partciles size measurement | 300 | reservable | equipment | https://public.qreserve.com/gmic2f3njf7wcjou4clg4adrzhd0c3z2ke60h_f.png?version=1689438454869099685 | Mastersizer 2000
Pycnometer | Characterizez a material's properties as a function of temperature, time, frequency, stress, atmosphere or a combination of these parameters | 300 | reservable | equipment | https://public.qreserve.com/1fau0y4nledqp2ss1eretqjrq5tq2w9h4ev8tw_f.png?version=1689192792356506020 | AccuPyc II 1340
Rheometer | Study of the flow and deformation of matter | 500 | reservable | equipment | https://public.qreserve.com/1g06i6ytv151ce6y4myhgjehe575yfgkfzc7qu_f.png?version=1689192795374379821 | Discovery HR-3
Sand Blasting Machine | Removing rust, corrosion and paint from various surfaces | 200 | reservable | equipment | https://public.qreserve.com/13t1ifber59udo3j0hqr62ancywykl23zz2mhx_f.png?version=1689192796436436620 | T-REX 100
UV-Vis-NIR Spectrophotometer | Calculation of the transmittance, reflectance and absorbance | 300 | reservable | equipment | https://public.qreserve.com/11zqfi50oewcuf9q6zdvgt89ijsm1pkd8gqtpj_f.png?version=1689192820551992946 | Lambda 1050
Vibratory Sieve Shaker | sieving, and particle size distribution of solids | 200 | reservable | equipment | https://public.qreserve.com/y8wbfvoj9egy9ykufyplpo5zfhb70jkyx2c4v_f.png?version=1689192823288105769 | ANALYSETTE 3 PRO
XRD | Phases analysis | 300 | reservable | equipment | https://public.qreserve.com/13wv091pey8myw7ounl4o8d405zw0urcilg9y5_f.png?version=1689192824289255058 | D8 ADVANCE
XRF Spectrometer | Elemental composition of materials | 500 | reservable | equipment | https://public.qreserve.com/cg515val063t7ta8p8sx2abhh6jll5pm4zv34_f.png?version=1689192825186346603 | EPSILON 4
ball mill | The TM 300 drum mill is used to prepare granules and powders by dry or wet grinding. This mill uses balls for grinding (ball mill). The TM 300 can process sample volumes of up to 20 liters.Capacities range from 3 kg/h to 10 kg/h. Nature of samples:The sample can consist of solid particles, granules, etc. | 300 | reservable | equipment | https://public.qreserve.com/ejse7gnky2racz4hiyh8ynd5k662n2vmqepge_f.jpg?version=1710929836159968253
Climatic measuring instrument | A climate meter is a device that measures various climatic parameters, such as temperature, humidity, atmospheric pressure, rain and wind. It can also measure other variables, such as light, UV radiation and air quality. The climate meter's various sensors are connected to a control unit, which converts the measurements into digital data and records them. Data can be displayed in real time on the unit, stored for later analysis, or transmitted to a computer for further analysis. | 300 | reservable | equipment | https://public.qreserve.com/x2hxpyymsu8u1wj0wstse5d57zo9v7gpu5lzr_f.jpg?version=1710930262882104512
Closed, stirred and insulated reactor | This closed, stirred and insulated reactor has a capacity of 150 liters, and can be heated up to 200°C. It is equipped with a 7 bar safety valve, pressure gauge and thermometer. The reactor is also equipped with an exchanger for liquefying off-gases, if required. | Quotation | reservablerequestable | service | https://public.qreserve.com/fk78l6uq08dj72yk2tcxg12ks315w97569qgb_f.jpg?version=1710497047915881435
Combustion analyzer | Un analyseur de combustion mesure les gaz produits par la combustion d'un combustible, tels que le monoxyde de carbone (CO), l'azote (N2), l'oxygène (O2), le dioxyde de carbone (CO2) et le dioxyde de soufre, etc. Les mesures sont utilisées pour déterminer la qualité de la combustion et l'efficacité du système. Le principe de fonctionnement d'un analyseur de combustion consiste à aspirer un échantillon de gaz de combustion et à mesurer sa composition à l'aide de capteurs sensibles. | 300 | reservable | equipment | https://public.qreserve.com/1mjt8xo3dkv1sssoo3rn1phlyhh6viiiul6d5b_f.png?version=1710930139136797921
Combustion calorimeter | The CAL3K-A bomb calorimeter uses isothermal, adiabatic or dynamic calorimetry methods to measure temperature readings and calculate the result in MJ, BTU or Calories. Capacity of samples per hour: 2 samples | 800 | reservable | equipment | https://public.qreserve.com/117muq3w6lgoqwt9m4tvo2mib7pu0i1a0lzgch_f.png?version=1710930353905436413
Decantor pilot | The settling pilot plant consists of the following components: a feed tank, a coagulant or flocculant tank, a coagulation or flocculation tank, and a settling column, comprising a cylindrical and a conical section. It features an automatic control system and a pumping system. The objective of this equipment is the separation of solid and liquid phases. Application:Water and industrial waste treatment (coagulation, flocculation, settling) Capacity of operations per days: 2 Nature of sample: Pulp , effluent | Quotation | reservablerequestable | service | https://public.qreserve.com/fhu1lv18plhbkm2r58ii3mki7t6cvf0xxmwdx_f.jpg?version=1709293861619122065
double jacket reactor | The reactor is equipped with a stirring shaft and can operate at temperatures up to 200°C. | Quotation | reservablerequestable | service | https://public.qreserve.com/y0ks6y7s0nnnftcra6o0actowiuzffd5qswns_f.jpg?version=1710886534894847428
sieve shaker | The Ro-Tap® sieve shaker from W.S. Tyler™, has a unique two-dimensional operating mode: a horizontal circular motion and a vertical tapping motion. Nature of samples:The sample can consist of solid particles, granules, etc. | 200 | reservable | equipment | https://public.qreserve.com/ccm4gcw4xl3pyzl6kkxo2cp2wvm6qjay0eyt_f.png?version=1709294706189457431 | RX-29-10